{"text_format":"3","workbook":"xlsx","n_sheets":9,"sheets":["填表说明","重点排污单位环境信息公开表","烟气检测数据汇总","烟气重金属检测数据汇总","废水检测数据汇总","飞灰检测数据汇总","炉渣热酌减率数据汇总","二噁英数据汇总","飞灰二噁英数据汇总"],"read":"whole","date_system":"1900"}

{"sheet":"填表说明","index":0,"n_rows":13,"n_cols":1,"rows_kept":13}
["关于运营项目公司环保信息公示资料准备的情况说明"]
["一、根据《企业事业单位环境信息公开办法》、《生活垃圾焚烧污染控制标准》(GB18485-2014)要求，所有运营的垃圾焚烧项目公司都需进行网上公示。"]
["二、资料准备："]
["1、重点排污单位环境信息公开表"]
["2、18年环保监测计划。若项目公司没有监测计划，以海安监测计划为模板，结合本企业的环评、《生活垃圾焚烧污染控制标准》(GB18485-2014)的要求编制监测计划，并到当地环保部门备案。"]
["3、18年1-7月环保检测数据汇总表（烟气检测数据汇总、烟气重金属检测数据汇总、废水检测数据汇总、飞灰检测数据汇总、炉渣热酌减率数据汇总、二噁英数据汇总）"]
["4、18年1-7月第三方检测报告（按月份进行整理归档）"]
["三、资料提交："]
["1、《重点排污单位环境信息公开表》需提供纸质版和电子版，纸质版需项目公司负责人签字确认；"]
["2、《18年环保监测计划》需提供纸质版和电子版，纸质版需项目公司负责人签字确认；"]
["3、《18年1-7月环保检测数据汇总表》需提供纸质版和电子版，纸质版需项目公司负责人签字确认；"]
["4、《18年1-7月第三方检测报告》只需提供电子版。"]
["四、请各项目公司在2018年8月31日前，按照上述相关要求填写相关表格，同时将所需的纸质版文件邮寄至中国天楹总部林峰。联系人电话：15358703198、短号：69750"]

{"sheet":"重点排污单位环境信息公开表","index":1,"n_rows":44,"n_cols":10,"rows_kept":44,"merged":[[0,1,0,10],[1,1,1,10],[2,1,2,2],[2,3,2,6],[2,7,2,8],[2,9,2,10],[3,1,3,2],[3,3,3,6],[3,7,3,8],[3,9,3,10],[4,1,4,2],[4,3,4,10],[5,1,5,10],[6,1,6,4],[6,5,6,6],[6,7,6,10],[7,1,7,4],[7,5,7,6],[7,7,7,10],[8,1,8,10],[9,1,9,5],[9,6,9,10],[10,1,10,5],[10,6,10,10],[11,1,11,10],[12,1,12,2],[12,4,12,10],[13,1,13,2],[13,4,13,6],[13,7,13,8],[13,9,13,10],[14,1,14,2],[14,4,14,6],[14,7,14,8],[14,9,14,10],[15,1,15,2],[15,4,15,6],[15,7,15,8],[15,9,15,10],[16,1,16,10],[17,1,17,2],[17,4,17,10],[18,1,18,2],[18,4,18,6],[18,7,18,8],[18,9,18,10],[19,1,19,2],[19,4,19,6],[19,7,19,8],[19,9,19,10],[20,1,20,2],[20,4,20,6],[20,7,20,8],[20,9,20,10],[21,1,22,2],[21,4,21,6],[21,7,21,10],[22,4,22,6],[22,7,22,10],[23,1,23,10],[24,1,24,2],[24,4,24,7],[24,8,24,10],[25,1,25,2],[25,4,25,7],[25,8,25,10],[26,1,26,2],[26,4,26,7],[26,8,26,10],[27,1,27,10],[28,1,28,2],[28,4,28,7],[28,8,28,10],[29,1,29,2],[29,4,29,7],[29,8,29,10],[30,1,30,10],[31,1,31,5],[31,6,31,10],[32,1,32,5],[32,6,32,10],[33,1,33,5],[33,6,33,10],[34,1,34,5],[34,6,34,10],[35,1,35,10],[36,1,36,5],[36,6,36,10],[37,1,37,5],[37,6,37,10],[38,1,38,10],[39,1,39,5],[39,6,39,10],[40,1,40,5],[40,6,40,10],[41,1,41,5],[41,6,41,10],[42,1,42,5],[42,6,42,10],[43,1,43,5],[43,6,43,10]]}
[null,"海安天楹环保能源有限公司环境信息公开表"]
[null,"一、基础信息"]
[null,"单位名称",null,"海安天楹环保能源有限公司",{"$nulls":3},"法定代表人",null,"严圣军"]
[null,"组织机构代码",null,"68412979-5",{"$nulls":3},"联系方式",null,"051388912858"]
[null,"生产地址",null,"海安县海安镇达欣路28号"]
[null,"生产经营和管理服务的主要内容、产品及规模"]
[null,"主要内容",{"$nulls":3},"产品",null,"规模"]
[null,"生活垃圾焚烧发电项目",{"$nulls":3},"电能",null,"日焚烧处理750吨生活垃圾，配置3台250吨生活垃圾的焚烧线，2套7.5MW汽轮发电机组。"]
[null,"二、排污信息"]
[null,"执行的污染物排放标准",{"$nulls":4},"核定的污染物排放量"]
[null,"《生活垃圾焚烧污染控制标准》GB18485-2014，《污水综合排放标准》GB8978-1996，《工业企业厂界环境噪声排放标准》GB12348-2008,《生活垃圾填埋场污染控制标准》GB16889-2008",{"$nulls":4},"临时排污许可证：2016年7月15日至2016年10月14日。许可排放量：二氧化硫22.0675t/a、氮氧化物75t/a、烟（粉）尘5.625t/a、铅0.025t/a、氯化氢12.5t/a、汞0.025t/a、二噁英0.025TEQ克/年、COD20.3t/a、氨氮1.345t/a、SS7.47t/a、总磷0.161t/a。"]
[null,"（一）、废水"]
[null,"主要污染物及特征污染物名称",null,null,"COD、氨氮、SS"]
[null,"排放方式",null,null,"鹰泰水务处理",null,null,"排放口数量和分布情况",null,"1个,公司东北角"]
[null,"排放浓度",null,null,"COD≤500mg/L，氨氮≤25mg/L，SS≤400mg/L",null,null,"超标情况",null,"无"]
[null,"执行的污染物排放标准",null,null,"《污水综合排放标准》（GB8978-1996）三级标准",null,null,"核定的排放总量",null,"COD≤20.3T/a，氨氮≤1.345T/a，SS≤7.47T/a"]
[null,"（二）、废气"]
[null,"主要污染物及特征污染物名称",null,null,"烟尘、二氧化硫、氯化氢、氮氧化物、一氧化碳"]
[null,"排放方式",null,null,"达标高空排放",null,null,"排放口数量和分布情况",null,"1（3条单独线并一个烟囱内）"]
[null,"排放浓度",null,null,"烟尘≤20mg/m3、HCL≤50mg/m3，SO2≤80mg/m3，NOX≤250mg/m3，CO≤80mg/m3",null,null,"超标情况",null,"无"]
[null,"执行的污染物排放标准",null,null,"《生活垃圾焚烧污染控制标准》（GB18485-2014）",null,null,"核定的排放总量",null,"HCL≤13.31T/a，SO2≤35.31T/a，NOX≤228.97T/a，粉尘≤13.04T/a"]
[null,"（三）、固体废物、危险废物情况",null,null,"一般固体废物",null,null,"危险固体废物"]
[{"$nulls":4},"炉渣",null,null,"飞灰、废机油"]
[null,"三、防治污染设施的建设和运行情况"]
[null,"设施名称",null,null,"主要工艺",{"$nulls":3},"验收时间"]
[null,"废水处理设施",null,null,"混凝沉淀+UASB＋MBR＋深度处理+NF",{"$nulls":3},"2013-03-01"]
[null,"废气处理设施",null,null,"SNCR+半干式反应塔+干法除酸+活性炭喷射装置+高效率布袋除尘",{"$nulls":3},"2013年3月1日/2015年2月26日"]
[null,"四、建设项目环境影响评价情况及环境保护行政许可情况（各项分别填写）"]
[null,"项目名称",null,null,"建设项目环境影响评价批复情况",{"$nulls":3},"文号"]
[null,"海安县生活垃圾焚烧发电项目",null,null,"2010年9月15日江苏省环境保护厅下发环评批复",{"$nulls":3},"苏环审【2010】223号"]
[null,"五、突发环境事件应急预案"]
[null,"今年来发生的特发环境事件",{"$nulls":4},"无"]
[null,"突发环境事件应急预案颁布实施日期",{"$nulls":4},"2018-07-19"]
[null,"突发环境事件应急预案备案情况",{"$nulls":4},"已于2018年07月19日进行了备案"]
[null,"应急预案演练情况",{"$nulls":4},"已演练"]
[null,"六、环境自行监测方案及其备案情况（2018年）"]
[null,"（一）、环境自行监测方案",{"$nulls":4},"已制定，具体见附件"]
[null,"（二）、环境自行监测方案备案情况",{"$nulls":4},"已于2017年12月进行了备案"]
[null,"（三）、自行监测结果"]
[null,"废气",{"$nulls":4},"符合要求，具体见附件"]
[null,"废水",{"$nulls":4},"符合要求，具体见附件"]
[null,"固化飞灰",{"$nulls":4},"符合要求，具体见附件"]
[null,"炉渣",{"$nulls":4},"符合要求，具体见附件"]
[null,"二噁英",{"$nulls":4},"符合要求，具体见附件"]

{"sheet":"烟气检测数据汇总","index":2,"n_rows":33,"n_cols":8,"rows_kept":33,"merged":[[0,0,0,7],[1,0,8,0],[1,2,1,3],[1,5,1,7],[9,0,16,0],[9,2,9,3],[9,5,9,7],[17,0,24,0],[17,2,17,3],[17,5,17,7],[25,0,32,0],[25,2,25,3],[25,5,25,7]]}
["海安天楹环保能源有限公司烟气检测数据汇总"]
["2018年  第一季度","检测日期","2018-03-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#","4#","5#"]
[null,"烟尘",30,"＜20","＜20","＜20"]
[null,"一氧化碳",100,"ND",1.68,"ND"]
[null,"氯化氢",60,21.4,7.23,25.55]
[null,"氟化氢",1,"ND","ND","ND"]
[null,"二氧化硫",100,16.55,49.75,7.94]
[null,"氮氧化物",300,170,179,152]
["2018年  第二季度","检测日期","2018-06-22",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#","4#","5#"]
[null,"烟尘",30,"＜20","＜20","＜20"]
[null,"一氧化碳",100,"ND","ND","ND"]
[null,"氯化氢",60,9.6,10.63,24.27]
[null,"氟化氢",1,"ND","ND","ND"]
[null,"二氧化硫",100,19,2,19.83]
[null,"氮氧化物",300,234,249,154]
["2018年  第三季度","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#","4#","5#"]
[null,"烟尘",30,"＜20","＜20","＜20"]
[null,"一氧化碳",100,"ND","ND",6.16]
[null,"氯化氢",60,19.8,21.43,14.85]
[null,"氟化氢",1,"ND","ND","ND"]
[null,"二氧化硫",100,"ND",77,43.33]
[null,"氮氧化物",300,198,201,112]
["2018年  第四季度","检测日期","2018-11-10",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#","4#","5#"]
[null,"烟尘",30,"＜20","＜20","＜20"]
[null,"一氧化碳",100,8,6,"ND"]
[null,"氯化氢",60,19.8,15.5,32.9]
[null,"氟化氢",1,"ND","ND","ND"]
[null,"二氧化硫",100,24,"ND",16]
[null,"氮氧化物",300,210,168,140]

{"sheet":"烟气重金属检测数据汇总","index":3,"n_rows":61,"n_cols":6,"rows_kept":61,"merged":[[0,0,0,5],[1,0,5,0],[1,2,1,3],[6,0,10,0],[6,2,6,3],[11,0,15,0],[11,2,11,3],[16,0,20,0],[16,2,16,3],[21,0,25,0],[21,2,21,3],[26,0,30,0],[26,2,26,3],[31,0,35,0],[31,2,31,3],[36,0,40,0],[36,2,36,3],[41,0,45,0],[41,2,41,3],[46,0,50,0],[46,2,46,3],[51,0,55,0],[51,2,51,3],[56,0,60,0],[56,2,56,3]]}
["海安天楹环保能源有限公司烟气重金属检测数据汇总"]
["2018-01-01","检测日期","2018-01-26",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,0.000398,0.00018,0.00014]
[null,"镉及其化合物",0.1,"ND","ND","ND"]
[null,"铅及其化合物",1,"ND","ND","ND"]
["2018-02-01","检测日期","2018-02-26",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND",2.1e-05,1.9e-05]
[null,"镉及其化合物",0.1,1.91E-3,1.67E-3,"ND"]
[null,"铅及其化合物",1,0.0238,"ND","ND"]
["2018-03-01","检测日期","2018-03-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND",5e-06,"ND"]
[null,"镉及其化合物",0.1,0.00217,0.00218,"ND"]
[null,"铅及其化合物",1,0.0242,"ND","ND"]
["2018-04-01","检测日期","2018-04-19",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND","ND","ND"]
[null,"镉及其化合物",0.1,0.00567,"ND","ND"]
[null,"铅及其化合物",1,0.033,0.016,0.0088]
["2018-05-01","检测日期","2018-05-18",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND","ND","ND"]
[null,"镉及其化合物",0.1,0.000373,"ND",0.0107]
[null,"铅及其化合物",1,0.0554,0.144,0.218]
["2018-06-01","检测日期","2018-06-22",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND","ND","ND"]
[null,"镉及其化合物",0.1,"ND",1.41E-3,2.05E-4]
[null,"铅及其化合物",1,"ND",0.0165,0.00683]
["2018-07-01","检测日期","2018-07-25",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,5.77E-5,0.000128,1.48E-3]
[null,"镉及其化合物",0.1,0.00495,0.00304,0.00582]
[null,"铅及其化合物",1,0.0747,0.0609,0.0787]
["2018-08-01","检测日期","2018-08-09",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,2.04E-4,0.000197,9.47e-06]
[null,"镉及其化合物",0.1,"ND","ND","ND"]
[null,"铅及其化合物",1,"ND","ND","ND"]
["2018-09-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND","ND","ND"]
[null,"镉及其化合物",0.1,0.00185,0.00255,0.00286]
[null,"铅及其化合物",1,0.0072,0.0117,0.0205]
["2018-10-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,"ND","ND","ND"]
[null,"镉及其化合物",0.1,0.00185,0.00255,0.00286]
[null,"铅及其化合物",1,0.0072,0.0117,0.0205]
["2018-11-01","检测日期","2018-11-10",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,5.53e-05,1.41E-3,1E-4]
[null,"镉及其化合物",0.1,"ND",7.48e-05,0.000535]
[null,"铅及其化合物",1,"ND",0.00993,0.0348]
["2018-12-01","检测日期","2018-12-14",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目","标准（mg/m3)","1#","2#","3#"]
[null,"汞及其化合物",0.05,0.000157,3.72e-05,1.87e-05]
[null,"镉及其化合物",0.1,0.00138,"ND",0.000954]
[null,"铅及其化合物",1,0.0192,0.0121,0.0169]

{"sheet":"废水检测数据汇总","index":4,"n_rows":114,"n_cols":6,"rows_kept":114,"merged":[[0,0,0,6],[1,0,8,0],[1,2,1,3],[1,5,1,6],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,0,16,0],[9,2,9,3],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,0,24,0],[17,2,17,3],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,0,33,0],[25,2,25,3],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,0,41,0],[34,2,34,3],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,1,40,2],[40,3,40,4],[40,5,40,6],[41,1,41,2],[41,3,41,4],[41,5,41,6],[42,0,49,0],[42,2,42,3],[42,5,42,6],[43,1,43,2],[43,3,43,4],[43,5,43,6],[44,1,44,2],[44,3,44,4],[44,5,44,6],[45,1,45,2],[45,3,45,4],[45,5,45,6],[46,1,46,2],[46,3,46,4],[46,5,46,6],[47,1,47,2],[47,3,47,4],[47,5,47,6],[48,1,48,2],[48,3,48,4],[48,5,48,6],[49,1,49,2],[49,3,49,4],[49,5,49,6],[50,0,57,0],[50,2,50,3],[50,5,50,6],[51,1,51,2],[51,3,51,4],[51,5,51,6],[52,1,52,2],[52,3,52,4],[52,5,52,6],[53,1,53,2],[53,3,53,4],[53,5,53,6],[54,1,54,2],[54,3,54,4],[54,5,54,6],[55,1,55,2],[55,3,55,4],[55,5,55,6],[56,1,56,2],[56,3,56,4],[56,5,56,6],[57,1,57,2],[57,3,57,4],[57,5,57,6],[58,0,65,0],[58,2,58,3],[58,5,58,6],[59,1,59,2],[59,3,59,4],[59,5,59,6],[60,1,60,2],[60,3,60,4],[60,5,60,6],[61,1,61,2],[61,3,61,4],[61,5,61,6],[62,1,62,2],[62,3,62,4],[62,5,62,6],[63,1,63,2],[63,3,63,4],[63,5,63,6],[64,1,64,2],[64,3,64,4],[64,5,64,6],[65,1,65,2],[65,3,65,4],[65,5,65,6],[66,0,73,0],[66,2,66,3],[66,5,66,6],[67,1,67,2],[67,3,67,4],[67,5,67,6],[68,1,68,2],[68,3,68,4],[68,5,68,6],[69,1,69,2],[69,3,69,4],[69,5,69,6],[70,1,70,2],[70,3,70,4],[70,5,70,6],[71,1,71,2],[71,3,71,4],[71,5,71,6],[72,1,72,2],[72,3,72,4],[72,5,72,6],[73,1,73,2],[73,3,73,4],[73,5,73,6],[74,0,81,0],[74,2,74,3],[74,5,74,6],[75,1,75,2],[75,3,75,4],[75,5,75,6],[76,1,76,2],[76,3,76,4],[76,5,76,6],[77,1,77,2],[77,3,77,4],[77,5,77,6],[78,1,78,2],[78,3,78,4],[78,5,78,6],[79,1,79,2],[79,3,79,4],[79,5,79,6],[80,1,80,2],[80,3,80,4],[80,5,80,6],[81,1,81,2],[81,3,81,4],[81,5,81,6],[82,0,89,0],[82,2,82,3],[82,5,82,6],[83,1,83,2],[83,3,83,4],[83,5,83,6],[84,1,84,2],[84,3,84,4],[84,5,84,6],[85,1,85,2],[85,3,85,4],[85,5,85,6],[86,1,86,2],[86,3,86,4],[86,5,86,6],[87,1,87,2],[87,3,87,4],[87,5,87,6],[88,1,88,2],[88,3,88,4],[88,5,88,6],[89,1,89,2],[89,3,89,4],[89,5,89,6],[90,0,97,0],[90,2,90,3],[90,5,90,6],[91,1,91,2],[91,3,91,4],[91,5,91,6],[92,1,92,2],[92,3,92,4],[92,5,92,6],[93,1,93,2],[93,3,93,4],[93,5,93,6],[94,1,94,2],[94,3,94,4],[94,5,94,6],[95,1,95,2],[95,3,95,4],[95,5,95,6],[96,1,96,2],[96,3,96,4],[96,5,96,6],[97,1,97,2],[97,3,97,4],[97,5,97,6],[98,0,105,0],[98,2,98,3],[98,5,98,6],[99,1,99,2],[99,3,99,4],[99,5,99,6],[100,1,100,2],[100,3,100,4],[100,5,100,6],[101,1,101,2],[101,3,101,4],[101,5,101,6],[102,1,102,2],[102,3,102,4],[102,5,102,6],[103,1,103,2],[103,3,103,4],[103,5,103,6],[104,1,104,2],[104,3,104,4],[104,5,104,6],[105,1,105,2],[105,3,105,4],[105,5,105,6],[106,0,113,0],[106,2,106,3],[106,5,106,6],[107,1,107,2],[107,3,107,4],[107,5,107,6],[108,1,108,2],[108,3,108,4],[108,5,108,6],[109,1,109,2],[109,3,109,4],[109,5,109,6],[110,1,110,2],[110,3,110,4],[110,5,110,6],[111,1,111,2],[111,3,111,4],[111,5,111,6],[112,1,112,2],[112,3,112,4],[112,5,112,6],[113,1,113,2],[113,3,113,4],[113,5,113,6]]}
["海安天楹环保能源有限公司废水检测数据汇总"]
["2018-01-01","检测日期","2018-01-26",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,0.006]
[null,"总铬",null,0.1,null,0.058]
[null,"六价铬",null,0.05,null,0.005]
[null,"总砷",null,0.1,null,"ND"]
[null,"总铅",null,0.1,null,"ND"]
["2018-02-01","检测日期","2018-02-26",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,0.000994]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,"ND"]
[null,"总砷",null,0.1,null,0.00606]
[null,"总铅",null,0.1,null,0.034]
["2018-03-01","检测日期","2018-03-05",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,1.07E-3]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,"ND"]
[null,"总砷",null,0.1,null,0.00566]
[null,"总铅",null,0.1,null,0.029]
["2018-04-01","检测日期","2018-04-19",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"pH",null,"6~9",null,7.88]
[null,"悬浮物",null,400,null,23]
[null,"化学需氧量",null,500,null,186]
[null,"氨氮",null,35,null,1.22]
[null,"总氮",null,"—",null,124]
[null,"总磷",null,"—",null,1.7]
[null,"石油类",null,20,null,0.17]
["2018-04-01","检测日期","2018-04-19",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,0.00079]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,"ND"]
[null,"总砷",null,0.1,null,0.00112]
[null,"总铅",null,0.1,null,0.029]
["2018-05-01","检测日期","2018-05-18",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,0.04]
[null,"六价铬",null,0.05,null,0.006]
[null,"总砷",null,0.1,null,0.00384]
[null,"总铅",null,0.1,null,0.055]
["2018-06-01","检测日期","2018-06-22",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,0.008]
[null,"总铬",null,0.1,null,0.074]
[null,"六价铬",null,0.05,null,"ND"]
[null,"总砷",null,0.1,null,0.0142]
[null,"总铅",null,0.1,null,0.018]
["2018-07-01","检测日期","2018-07-25",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,2E-3]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,0.018]
[null,"总砷",null,0.1,null,0.0106]
[null,"总铅",null,0.1,null,"ND"]
["2018-08-01","检测日期","2018-08-09",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,0.013]
[null,"总砷",null,0.1,null,0.0034]
[null,"总铅",null,0.1,null,"ND"]
["2018-09-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,0.022]
[null,"总砷",null,0.1,null,0.00912]
[null,"总铅",null,0.1,null,0.093]
["2018-09-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"pH",null,"6~9",null,7.03]
[null,"悬浮物",null,400,null,24]
[null,"化学需氧量",null,500,null,96]
[null,"氨氮",null,35,null,2.42]
[null,"总磷",null,"—",null,1.36]
[null,"石油类",null,20,null,0.13]
["2018-10-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,"ND"]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,0.022]
[null,"总砷",null,0.1,null,0.00912]
[null,"总铅",null,0.1,null,0.093]
["2018-11-01","检测日期","2018-11-10",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,0.009]
[null,"总铬",null,0.1,null,"ND"]
[null,"六价铬",null,0.05,null,0.02]
[null,"总砷",null,0.1,null,0.00886]
[null,"总铅",null,0.1,null,0.083]
["2018-12-01","检测日期","2018-12-14",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"总汞",null,1E-3,null,"ND"]
[null,"总镉",null,0.01,null,0.007]
[null,"总铬",null,0.1,null,0.095]
[null,"六价铬",null,0.05,null,0.026]
[null,"总砷",null,0.1,null,0.0594]
[null,"总铅",null,0.1,null,0.086]

{"sheet":"飞灰检测数据汇总","index":5,"n_rows":241,"n_cols":6,"rows_kept":241,"merged":[[0,0,0,6],[1,0,15,0],[1,2,1,3],[1,5,1,6],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,0,30,0],[16,2,16,3],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,0,45,0],[31,2,31,3],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,1,40,2],[40,3,40,4],[40,5,40,6],[41,1,41,2],[41,3,41,4],[41,5,41,6],[42,1,42,2],[42,3,42,4],[42,5,42,6],[43,1,43,2],[43,3,43,4],[43,5,43,6],[44,1,44,2],[44,3,44,4],[44,5,44,6],[45,1,45,2],[45,3,45,4],[45,5,45,6],[46,0,60,0],[46,2,46,3],[46,5,46,6],[47,1,47,2],[47,3,47,4],[47,5,47,6],[48,1,48,2],[48,3,48,4],[48,5,48,6],[49,1,49,2],[49,3,49,4],[49,5,49,6],[50,1,50,2],[50,3,50,4],[50,5,50,6],[51,1,51,2],[51,3,51,4],[51,5,51,6],[52,1,52,2],[52,3,52,4],[52,5,52,6],[53,1,53,2],[53,3,53,4],[53,5,53,6],[54,1,54,2],[54,3,54,4],[54,5,54,6],[55,1,55,2],[55,3,55,4],[55,5,55,6],[56,1,56,2],[56,3,56,4],[56,5,56,6],[57,1,57,2],[57,3,57,4],[57,5,57,6],[58,1,58,2],[58,3,58,4],[58,5,58,6],[59,1,59,2],[59,3,59,4],[59,5,59,6],[60,1,60,2],[60,3,60,4],[60,5,60,6],[61,0,75,0],[61,2,61,3],[61,5,61,6],[62,1,62,2],[62,3,62,4],[62,5,62,6],[63,1,63,2],[63,3,63,4],[63,5,63,6],[64,1,64,2],[64,3,64,4],[64,5,64,6],[65,1,65,2],[65,3,65,4],[65,5,65,6],[66,1,66,2],[66,3,66,4],[66,5,66,6],[67,1,67,2],[67,3,67,4],[67,5,67,6],[68,1,68,2],[68,3,68,4],[68,5,68,6],[69,1,69,2],[69,3,69,4],[69,5,69,6],[70,1,70,2],[70,3,70,4],[70,5,70,6],[71,1,71,2],[71,3,71,4],[71,5,71,6],[72,1,72,2],[72,3,72,4],[72,5,72,6],[73,1,73,2],[73,3,73,4],[73,5,73,6],[74,1,74,2],[74,3,74,4],[74,5,74,6],[75,1,75,2],[75,3,75,4],[75,5,75,6],[76,0,90,0],[76,2,76,3],[76,5,76,6],[77,1,77,2],[77,3,77,4],[77,5,77,6],[78,1,78,2],[78,3,78,4],[78,5,78,6],[79,1,79,2],[79,3,79,4],[79,5,79,6],[80,1,80,2],[80,3,80,4],[80,5,80,6],[81,1,81,2],[81,3,81,4],[81,5,81,6],[82,1,82,2],[82,3,82,4],[82,5,82,6],[83,1,83,2],[83,3,83,4],[83,5,83,6],[84,1,84,2],[84,3,84,4],[84,5,84,6],[85,1,85,2],[85,3,85,4],[85,5,85,6],[86,1,86,2],[86,3,86,4],[86,5,86,6],[87,1,87,2],[87,3,87,4],[87,5,87,6],[88,1,88,2],[88,3,88,4],[88,5,88,6],[89,1,89,2],[89,3,89,4],[89,5,89,6],[90,1,90,2],[90,3,90,4],[90,5,90,6],[91,0,105,0],[91,2,91,3],[91,5,91,6],[92,1,92,2],[92,3,92,4],[92,5,92,6],[93,1,93,2],[93,3,93,4],[93,5,93,6],[94,1,94,2],[94,3,94,4],[94,5,94,6],[95,1,95,2],[95,3,95,4],[95,5,95,6],[96,1,96,2],[96,3,96,4],[96,5,96,6],[97,1,97,2],[97,3,97,4],[97,5,97,6],[98,1,98,2],[98,3,98,4],[98,5,98,6],[99,1,99,2],[99,3,99,4],[99,5,99,6],[100,1,100,2],[100,3,100,4],[100,5,100,6],[101,1,101,2],[101,3,101,4],[101,5,101,6],[102,1,102,2],[102,3,102,4],[102,5,102,6],[103,1,103,2],[103,3,103,4],[103,5,103,6],[104,1,104,2],[104,3,104,4],[104,5,104,6],[105,1,105,2],[105,3,105,4],[105,5,105,6],[106,0,120,0],[106,2,106,3],[106,5,106,6],[107,1,107,2],[107,3,107,4],[107,5,107,6],[108,1,108,2],[108,3,108,4],[108,5,108,6],[109,1,109,2],[109,3,109,4],[109,5,109,6],[110,1,110,2],[110,3,110,4],[110,5,110,6],[111,1,111,2],[111,3,111,4],[111,5,111,6],[112,1,112,2],[112,3,112,4],[112,5,112,6],[113,1,113,2],[113,3,113,4],[113,5,113,6],[114,1,114,2],[114,3,114,4],[114,5,114,6],[115,1,115,2],[115,3,115,4],[115,5,115,6],[116,1,116,2],[116,3,116,4],[116,5,116,6],[117,1,117,2],[117,3,117,4],[117,5,117,6],[118,1,118,2],[118,3,118,4],[118,5,118,6],[119,1,119,2],[119,3,119,4],[119,5,119,6],[120,1,120,2],[120,3,120,4],[120,5,120,6],[121,0,135,0],[121,2,121,3],[121,5,121,6],[122,1,122,2],[122,3,122,4],[122,5,122,6],[123,1,123,2],[123,3,123,4],[123,5,123,6],[124,1,124,2],[124,3,124,4],[124,5,124,6],[125,1,125,2],[125,3,125,4],[125,5,125,6],[126,1,126,2],[126,3,126,4],[126,5,126,6],[127,1,127,2],[127,3,127,4],[127,5,127,6],[128,1,128,2],[128,3,128,4],[128,5,128,6],[129,1,129,2],[129,3,129,4],[129,5,129,6],[130,1,130,2],[130,3,130,4],[130,5,130,6],[131,1,131,2],[131,3,131,4],[131,5,131,6],[132,1,132,2],[132,3,132,4],[132,5,132,6],[133,1,133,2],[133,3,133,4],[133,5,133,6],[134,1,134,2],[134,3,134,4],[134,5,134,6],[135,1,135,2],[135,3,135,4],[135,5,135,6],[136,0,180,0],[136,2,136,3],[136,5,136,6],[137,1,137,2],[137,3,137,4],[137,5,137,6],[138,1,138,2],[138,3,138,4],[138,5,138,6],[139,1,139,2],[139,3,139,4],[139,5,139,6],[140,1,140,2],[140,3,140,4],[140,5,140,6],[141,1,141,2],[141,3,141,4],[141,5,141,6],[142,1,142,2],[142,3,142,4],[142,5,142,6],[143,1,143,2],[143,3,143,4],[143,5,143,6],[144,1,144,2],[144,3,144,4],[144,5,144,6],[145,1,145,2],[145,3,145,4],[145,5,145,6],[146,1,146,2],[146,3,146,4],[146,5,146,6],[147,1,147,2],[147,3,147,4],[147,5,147,6],[148,1,148,2],[148,3,148,4],[148,5,148,6],[149,1,149,2],[149,3,149,4],[149,5,149,6],[150,1,150,2],[150,3,150,4],[150,5,150,6],[151,2,151,3],[151,5,151,6],[152,1,152,2],[152,3,152,4],[152,5,152,6],[153,1,153,2],[153,3,153,4],[153,5,153,6],[154,1,154,2],[154,3,154,4],[154,5,154,6],[155,1,155,2],[155,3,155,4],[155,5,155,6],[156,1,156,2],[156,3,156,4],[156,5,156,6],[157,1,157,2],[157,3,157,4],[157,5,157,6],[158,1,158,2],[158,3,158,4],[158,5,158,6],[159,1,159,2],[159,3,159,4],[159,5,159,6],[160,1,160,2],[160,3,160,4],[160,5,160,6],[161,1,161,2],[161,3,161,4],[161,5,161,6],[162,1,162,2],[162,3,162,4],[162,5,162,6],[163,1,163,2],[163,3,163,4],[163,5,163,6],[164,1,164,2],[164,3,164,4],[164,5,164,6],[165,1,165,2],[165,3,165,4],[165,5,165,6],[166,2,166,3],[166,5,166,6],[167,1,167,2],[167,3,167,4],[167,5,167,6],[168,1,168,2],[168,3,168,4],[168,5,168,6],[169,1,169,2],[169,3,169,4],[169,5,169,6],[170,1,170,2],[170,3,170,4],[170,5,170,6],[171,1,171,2],[171,3,171,4],[171,5,171,6],[172,1,172,2],[172,3,172,4],[172,5,172,6],[173,1,173,2],[173,3,173,4],[173,5,173,6],[174,1,174,2],[174,3,174,4],[174,5,174,6],[175,1,175,2],[175,3,175,4],[175,5,175,6],[176,1,176,2],[176,3,176,4],[176,5,176,6],[177,1,177,2],[177,3,177,4],[177,5,177,6],[178,1,178,2],[178,3,178,4],[178,5,178,6],[179,1,179,2],[179,3,179,4],[179,5,179,6],[180,1,180,2],[180,3,180,4],[180,5,180,6],[181,0,225,0],[181,2,181,3],[181,5,181,6],[182,1,182,2],[182,3,182,4],[182,5,182,6],[183,1,183,2],[183,3,183,4],[183,5,183,6],[184,1,184,2],[184,3,184,4],[184,5,184,6],[185,1,185,2],[185,3,185,4],[185,5,185,6],[186,1,186,2],[186,3,186,4],[186,5,186,6],[187,1,187,2],[187,3,187,4],[187,5,187,6],[188,1,188,2],[188,3,188,4],[188,5,188,6],[189,1,189,2],[189,3,189,4],[189,5,189,6],[190,1,190,2],[190,3,190,4],[190,5,190,6],[191,1,191,2],[191,3,191,4],[191,5,191,6],[192,1,192,2],[192,3,192,4],[192,5,192,6],[193,1,193,2],[193,3,193,4],[193,5,193,6],[194,1,194,2],[194,3,194,4],[194,5,194,6],[195,1,195,2],[195,3,195,4],[195,5,195,6],[196,2,196,3],[196,5,196,6],[197,1,197,2],[197,3,197,4],[197,5,197,6],[198,1,198,2],[198,3,198,4],[198,5,198,6],[199,1,199,2],[199,3,199,4],[199,5,199,6],[200,1,200,2],[200,3,200,4],[200,5,200,6],[201,1,201,2],[201,3,201,4],[201,5,201,6],[202,1,202,2],[202,3,202,4],[202,5,202,6],[203,1,203,2],[203,3,203,4],[203,5,203,6],[204,1,204,2],[204,3,204,4],[204,5,204,6],[205,1,205,2],[205,3,205,4],[205,5,205,6],[206,1,206,2],[206,3,206,4],[206,5,206,6],[207,1,207,2],[207,3,207,4],[207,5,207,6],[208,1,208,2],[208,3,208,4],[208,5,208,6],[209,1,209,2],[209,3,209,4],[209,5,209,6],[210,1,210,2],[210,3,210,4],[210,5,210,6],[211,2,211,3],[211,5,211,6],[212,1,212,2],[212,3,212,4],[212,5,212,6],[213,1,213,2],[213,3,213,4],[213,5,213,6],[214,1,214,2],[214,3,214,4],[214,5,214,6],[215,1,215,2],[215,3,215,4],[215,5,215,6],[216,1,216,2],[216,3,216,4],[216,5,216,6],[217,1,217,2],[217,3,217,4],[217,5,217,6],[218,1,218,2],[218,3,218,4],[218,5,218,6],[219,1,219,2],[219,3,219,4],[219,5,219,6],[220,1,220,2],[220,3,220,4],[220,5,220,6],[221,1,221,2],[221,3,221,4],[221,5,221,6],[222,1,222,2],[222,3,222,4],[222,5,222,6],[223,1,223,2],[223,3,223,4],[223,5,223,6],[224,1,224,2],[224,3,224,4],[224,5,224,6],[225,1,225,2],[225,3,225,4],[225,5,225,6],[226,0,240,0],[226,2,226,3],[226,5,226,6],[227,1,227,2],[227,3,227,4],[227,5,227,6],[228,1,228,2],[228,3,228,4],[228,5,228,6],[229,1,229,2],[229,3,229,4],[229,5,229,6],[230,1,230,2],[230,3,230,4],[230,5,230,6],[231,1,231,2],[231,3,231,4],[231,5,231,6],[232,1,232,2],[232,3,232,4],[232,5,232,6],[233,1,233,2],[233,3,233,4],[233,5,233,6],[234,1,234,2],[234,3,234,4],[234,5,234,6],[235,1,235,2],[235,3,235,4],[235,5,235,6],[236,1,236,2],[236,3,236,4],[236,5,236,6],[237,1,237,2],[237,3,237,4],[237,5,237,6],[238,1,238,2],[238,3,238,4],[238,5,238,6],[239,1,239,2],[239,3,239,4],[239,5,239,6],[240,1,240,2],[240,3,240,4],[240,5,240,6]]}
["海安天楹环保能源有限公司飞灰检测数据汇总"]
["2018-01-01","检测日期","2018-02-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":12.1,"d":"12.1000"}]
[null,"汞",null,0.05,null,{"v":0.035,"d":"0.0350"}]
[null,"铜",null,40,null,{"v":0.1,"d":"0.1000"}]
[null,"锌",null,100,null,{"v":0.796,"d":"0.7960"}]
[null,"铍",null,0.02,null,{"v":0.00126,"d":"0.0013"}]
[null,"钡",null,25,null,{"v":0.254,"d":"0.2540"}]
[null,"镍",null,0.5,null,{"v":0.285,"d":"0.2850"}]
[null,"砷",null,0.3,null,0.0065]
[null,"铅",null,0.25,null,{"v":0.179,"d":"0.1790"}]
[null,"镉",null,0.15,null,{"v":0.039,"d":"0.0390"}]
[null,"六价铬",null,1.5,null,{"v":0.049,"d":"0.0490"}]
[null,"总铬",null,4.5,null,{"v":2.6,"d":"2.6000"}]
[null,"硒",null,0.1,null,0.0065]
["2018-02-01","检测日期","2018/2/29",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":12.1,"d":"12.1000"}]
[null,"汞",null,0.05,null,{"v":0.005,"d":"0.0050"}]
[null,"铜",null,40,null,{"v":0.085,"d":"0.0850"}]
[null,"锌",null,100,null,{"v":0.252,"d":"0.2520"}]
[null,"铍",null,0.02,null,{"v":0.009,"d":"0.0090"}]
[null,"钡",null,25,null,{"v":0.634,"d":"0.6340"}]
[null,"镍",null,0.5,null,{"v":0.26,"d":"0.2600"}]
[null,"砷",null,0.3,null,0.0027]
[null,"铅",null,0.25,null,{"v":0.23,"d":"0.2300"}]
[null,"镉",null,0.15,null,{"v":0.124,"d":"0.1240"}]
[null,"六价铬",null,1.5,null,{"v":0.127,"d":"0.1270"}]
[null,"总铬",null,4.5,null,{"v":2.19,"d":"2.1900"}]
[null,"硒",null,0.1,null,0.0062]
["2018-03-01","检测日期","2018-03-15",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":11.3,"d":"11.3000"}]
[null,"汞",null,0.05,null,{"v":0.008,"d":"0.0080"}]
[null,"铜",null,40,null,{"v":0.348,"d":"0.3480"}]
[null,"锌",null,100,null,{"v":0.611,"d":"0.6110"}]
[null,"铍",null,0.02,null,{"v":0.011,"d":"0.0110"}]
[null,"钡",null,25,null,{"v":0.264,"d":"0.2640"}]
[null,"镍",null,0.5,null,{"v":0.218,"d":"0.2180"}]
[null,"砷",null,0.3,null,0.0042]
[null,"铅",null,0.25,null,{"v":0.194,"d":"0.1940"}]
[null,"镉",null,0.15,null,{"v":0.045,"d":"0.0450"}]
[null,"六价铬",null,1.5,null,{"v":0.141,"d":"0.1410"}]
[null,"总铬",null,4.5,null,{"v":2.64,"d":"2.6400"}]
[null,"硒",null,0.1,null,0.0025]
["2018-04-01","检测日期","2018-04-16",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":15.3,"d":"15.3000"}]
[null,"汞",null,0.05,null,{"v":0.0211,"d":"0.021100"}]
[null,"铜",null,40,null,{"v":0.07,"d":"0.0700"}]
[null,"锌",null,100,null,{"v":0.243,"d":"0.2430"}]
[null,"铍",null,0.02,null,{"v":0.0075,"d":"0.00750"}]
[null,"钡",null,25,null,{"v":6.14,"d":"6.1400"}]
[null,"镍",null,0.5,null,{"v":0.33,"d":"0.3300"}]
[null,"砷",null,0.3,null,{"v":0.21,"d":"0.21000"}]
[null,"铅",null,0.25,null,{"v":0.21,"d":"0.2100"}]
[null,"镉",null,0.15,null,{"v":0.08,"d":"0.0800"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":1.14,"d":"1.1400"}]
[null,"硒",null,0.1,null,{"v":0.06,"d":"0.0600"}]
["2018-05-01","检测日期","2018-05-18",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":16.8,"d":"16.8000"}]
[null,"汞",null,0.05,null,0.000598]
[null,"铜",null,40,null,{"v":0.253,"d":"0.2530"}]
[null,"锌",null,100,null,{"v":22.1,"d":"22.1000"}]
[null,"铍",null,0.02,null,0.00323]
[null,"钡",null,25,null,{"v":1.32,"d":"1.3200"}]
[null,"镍",null,0.5,null,{"v":0.254,"d":"0.2540"}]
[null,"砷",null,0.3,null,{"v":0.0101,"d":"0.01010"}]
[null,"铅",null,0.25,null,{"v":1.42,"d":"1.4200"}]
[null,"镉",null,0.15,null,{"v":1.51,"d":"1.5100"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,"ND"]
[null,"硒",null,0.1,null,0.00794]
["2018-06-01","检测日期","2018-06-22",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":15.2,"d":"15.2000"}]
[null,"汞",null,0.05,null,{"v":0.00159,"d":"0.001590"}]
[null,"铜",null,40,null,{"v":0.058,"d":"0.0580"}]
[null,"锌",null,100,null,{"v":2.98,"d":"2.9800"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":0.978,"d":"0.9780"}]
[null,"镍",null,0.5,null,{"v":0.403,"d":"0.4030"}]
[null,"砷",null,0.3,null,{"v":5.13E-3,"d":"0.00513"}]
[null,"铅",null,0.25,null,{"v":0.104,"d":"0.1040"}]
[null,"镉",null,0.15,null,"ND"]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":0.344,"d":"0.3440"}]
[null,"硒",null,0.1,null,0.0201]
["2018-07-01","检测日期","2018-07-25",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":27.1,"d":"27.1000"}]
[null,"汞",null,0.05,null,0.000884]
[null,"铜",null,40,null,{"v":1.13,"d":"1.1300"}]
[null,"锌",null,100,null,{"v":0.157,"d":"0.1570"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":0.906,"d":"0.9060"}]
[null,"镍",null,0.5,null,{"v":0.192,"d":"0.1920"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,"ND"]
[null,"镉",null,0.15,null,"ND"]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":0.279,"d":"0.2790"}]
[null,"硒",null,0.1,null,{"v":0.00338,"d":"0.0034"}]
["2018-08-01","检测日期","2018-08-09",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":27.8,"d":"27.8000"}]
[null,"汞",null,0.05,null,0.000636]
[null,"铜",null,40,null,{"v":0.154,"d":"0.1540"}]
[null,"锌",null,100,null,{"v":0.571,"d":"0.5710"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":1.24,"d":"1.2400"}]
[null,"镍",null,0.5,null,{"v":0.276,"d":"0.2760"}]
[null,"砷",null,0.3,null,0.00517]
[null,"铅",null,0.25,null,{"v":0.065,"d":"0.0650"}]
[null,"镉",null,0.15,null,{"v":0.109,"d":"0.1090"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":0.651,"d":"0.6510"}]
[null,"硒",null,0.1,null,0.0269]
["2018-09-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":27.8,"d":"27.8000"}]
[null,"汞",null,0.05,null,"ND"]
[null,"铜",null,40,null,{"v":0.166,"d":"0.1660"}]
[null,"锌",null,100,null,{"v":0.397,"d":"0.3970"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":0.687,"d":"0.6870"}]
[null,"镍",null,0.5,null,{"v":0.452,"d":"0.4520"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,{"v":0.152,"d":"0.1520"}]
[null,"镉",null,0.15,null,{"v":0.116,"d":"0.1160"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":0.217,"d":"0.2170"}]
[null,"硒",null,0.1,null,0.0257]
["2018-10-01","检测日期","2018-10-02",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":23.9,"d":"23.9000"}]
[null,"汞",null,0.05,null,{"v":0.00121,"d":"0.001210"}]
[null,"铜",null,40,null,{"v":0.2,"d":"0.2000"}]
[null,"锌",null,100,null,{"v":1.2,"d":"1.2000"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":1.72,"d":"1.7200"}]
[null,"镍",null,0.5,null,"ND"]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,"ND"]
[null,"镉",null,0.15,null,0.0184]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,"ND"]
[null,"硒",null,0.1,null,"ND"]
[null,"检测日期","2018-10-13",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":26.7,"d":"26.7000"}]
[null,"汞",null,0.05,null,{"v":0.0006,"d":"0.000600"}]
[null,"铜",null,40,null,{"v":0.7,"d":"0.7000"}]
[null,"锌",null,100,null,{"v":1.46,"d":"1.4600"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":2.87,"d":"2.8700"}]
[null,"镍",null,0.5,null,{"v":0.02,"d":"0.02000"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,{"v":0.08,"d":"0.08000"}]
[null,"镉",null,0.15,null,{"v":0.056,"d":"0.0560"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":0.02,"d":"0.0200"}]
[null,"硒",null,0.1,null,"ND"]
[null,"检测日期","2018-10-29",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":23.2,"d":"23.2000"}]
[null,"汞",null,0.05,null,{"v":0.00146,"d":"0.001460"}]
[null,"铜",null,40,null,"ND"]
[null,"锌",null,100,null,{"v":0.84,"d":"0.8400"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":1.66,"d":"1.6600"}]
[null,"镍",null,0.5,null,"ND"]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,{"v":0.2,"d":"0.20000"}]
[null,"镉",null,0.15,null,{"v":0.023,"d":"0.0230"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,{"v":0.02,"d":"0.0200"}]
[null,"硒",null,0.1,null,0.0002]
["2018-11-01","检测日期","2018-11-03",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":19.9,"d":"19.9000"}]
[null,"汞",null,0.05,null,{"v":2E-3,"d":"0.002000"}]
[null,"铜",null,40,null,{"v":0.17,"d":"0.1700"}]
[null,"锌",null,100,null,{"v":0.435,"d":"0.4350"}]
[null,"铍",null,0.02,null,{"v":0.0163,"d":"0.01630"}]
[null,"钡",null,25,null,{"v":1.6,"d":"1.6000"}]
[null,"镍",null,0.5,null,{"v":0.12,"d":"0.1200"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,{"v":0.11,"d":"0.1100"}]
[null,"镉",null,0.15,null,{"v":0.04,"d":"0.0400"}]
[null,"六价铬",null,1.5,null,{"v":0.022,"d":"0.0220"}]
[null,"总铬",null,4.5,null,{"v":0.03,"d":"0.0300"}]
[null,"硒",null,0.1,null,"ND"]
[null,"检测日期","2018-11-24",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":27.2,"d":"27.2000"}]
[null,"汞",null,0.05,null,{"v":0.00522,"d":"0.005220"}]
[null,"铜",null,40,null,{"v":0.13,"d":"0.1300"}]
[null,"锌",null,100,null,{"v":0.133,"d":"0.1330"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":1.28,"d":"1.2800"}]
[null,"镍",null,0.5,null,{"v":0.04,"d":"0.0400"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,{"v":0.07,"d":"0.0700"}]
[null,"镉",null,0.15,null,{"v":0.01,"d":"0.0100"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,"ND"]
[null,"硒",null,0.1,null,0.0004]
[null,"检测日期","2018-11-24",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":26.2,"d":"26.2000"}]
[null,"汞",null,0.05,null,{"v":0.0049,"d":"0.004900"}]
[null,"铜",null,40,null,{"v":0.78,"d":"0.7800"}]
[null,"锌",null,100,null,{"v":0.118,"d":"0.1180"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":1.62,"d":"1.6200"}]
[null,"镍",null,0.5,null,{"v":0.1,"d":"0.1000"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,"ND"]
[null,"镉",null,0.15,null,{"v":0.02,"d":"0.0200"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,"ND"]
[null,"硒",null,0.1,null,"ND"]
["2018-12-01","检测日期","2018-12-13",null,"检测单位","无锡中证检测技术有限公司"]
[null,"检测项目",null,"标准（除注明外，单位mg/L）",null,"检测结果（除注明外，单位mg/L）"]
[null,"含水率（%）",null,30,null,{"v":25.2,"d":"25.2000"}]
[null,"汞",null,0.05,null,{"v":2.48E-3,"d":"0.002480"}]
[null,"铜",null,40,null,{"v":1.65,"d":"1.6500"}]
[null,"锌",null,100,null,{"v":0.129,"d":"0.1290"}]
[null,"铍",null,0.02,null,"ND"]
[null,"钡",null,25,null,{"v":1.54,"d":"1.5400"}]
[null,"镍",null,0.5,null,{"v":0.16,"d":"0.1600"}]
[null,"砷",null,0.3,null,"ND"]
[null,"铅",null,0.25,null,"ND"]
[null,"镉",null,0.15,null,{"v":0.04,"d":"0.0400"}]
[null,"六价铬",null,1.5,null,"ND"]
[null,"总铬",null,4.5,null,"ND"]
[null,"硒",null,0.1,null,0.0004]

{"sheet":"炉渣热酌减率数据汇总","index":6,"n_rows":49,"n_cols":10,"rows_kept":49,"merged":[[0,0,0,9],[1,0,4,0],[1,2,1,3],[1,5,1,9],[2,1,3,2],[2,3,3,4],[2,5,2,9],[4,1,4,2],[4,3,4,4],[5,0,8,0],[5,2,5,3],[5,5,5,9],[6,1,7,2],[6,3,7,4],[6,5,6,9],[8,1,8,2],[8,3,8,4],[9,0,12,0],[9,2,9,3],[9,5,9,9],[10,1,11,2],[10,3,11,4],[10,5,10,9],[12,1,12,2],[12,3,12,4],[13,0,16,0],[13,2,13,3],[13,5,13,9],[14,1,15,2],[14,3,15,4],[14,5,14,9],[16,1,16,2],[16,3,16,4],[17,0,20,0],[17,2,17,3],[17,5,17,9],[18,1,19,2],[18,3,19,4],[18,5,18,9],[20,1,20,2],[20,3,20,4],[21,0,24,0],[21,2,21,3],[21,5,21,9],[22,1,23,2],[22,3,23,4],[22,5,22,9],[24,1,24,2],[24,3,24,4],[25,0,28,0],[25,2,25,3],[25,5,25,9],[26,1,27,2],[26,3,27,4],[26,5,26,9],[28,1,28,2],[28,3,28,4],[29,0,32,0],[29,2,29,3],[29,5,29,9],[30,1,31,2],[30,3,31,4],[30,5,30,9],[32,1,32,2],[32,3,32,4],[33,0,36,0],[33,2,33,3],[33,5,33,9],[34,1,35,2],[34,3,35,4],[34,5,34,9],[36,1,36,2],[36,3,36,4],[37,0,40,0],[37,2,37,3],[37,5,37,9],[38,1,39,2],[38,3,39,4],[38,5,38,9],[40,1,40,2],[40,3,40,4],[41,0,44,0],[41,2,41,3],[41,5,41,9],[42,1,43,2],[42,3,43,4],[42,5,42,9],[44,1,44,2],[44,3,44,4],[45,0,48,0],[45,2,45,3],[45,5,45,9],[46,1,47,2],[46,3,47,4],[46,5,46,9],[48,1,48,2],[48,3,48,4]]}
["海安天楹环保能源有限公司炉渣热酌减率检测数据汇总"]
["2018-01-01","检测日期","2018-01-26",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,2.62,2.76,3.14,"/","/"]
["2018-02-01","检测日期","2018-02-26",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,2.96,3.62,3.02,"/","/"]
["2018-03-01","检测日期","2018-03-05",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,2.94,3.02,3.08,"/","/"]
["2018-04-01","检测日期","2018-04-19",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,3.28,1.92,3.02,"/","/"]
["2018-05-01","检测日期","2018-05-19",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,1.84,4.24,1.94,"/","/"]
["2018-06-01","检测日期","2018-06-23",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,1.13,1.98,2.14,"/","/"]
["2018-07-01","检测日期","2018-07-25",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,0.91,0.84,4.56,"/","/"]
["2018-08-01","检测日期","2018-08-09",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,3.76,4.12,3.74,"/","/"]
["2018-09-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,4.12,3.89,3.34,"/","/"]
["2018-10-01","检测日期","2018-09-06",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,4.12,3.89,3.34,"/","/"]
["2018-11-01","检测日期","2018-11-10",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,2.38,4.14,2.43,"/","/"]
["2018-12-01","检测日期","2018-12-14",null,"检测单位","安徽壹博检测科技有限公司"]
[null,"检测项目",null,"标准（%）",null,"检测结果（%）"]
[{"$nulls":5},"1#","2#","3#","4#","5#"]
[null,"热酌减率",null,5,null,1,3.1,1.22,"/","/"]

{"sheet":"二噁英数据汇总","index":7,"n_rows":15,"n_cols":8,"rows_kept":15,"merged":[[0,0,0,7],[1,0,7,0],[1,2,1,3],[1,5,1,7],[2,1,3,2],[2,3,3,4],[2,5,2,7],[4,1,6,2],[4,3,6,4],[7,1,7,4],[8,0,14,0],[8,2,8,3],[8,5,8,7],[9,1,10,2],[9,3,10,4],[9,5,9,7],[11,1,13,2],[11,3,13,4],[14,1,14,4]]}
["海安天楹环保能源有限公司烟气二噁英检测数据汇总"]
["2018年        上半年","检测日期","2018.3.28/3.29/5.28",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（ng-TEQ/m3）",null,"检测结果（ng-TEQ/m3）"]
[{"$nulls":5},"1#","2#","3#"]
[null,"烟气二噁英",null,0.1,null,0.057,0.016,0.088]
[{"$nulls":5},0.051,0.054,0.052]
[{"$nulls":5},0.052,0.019,0.049]
[null,"平均值",{"$nulls":3},0.053,{"v":0.03,"d":"0.030"},0.063]
["2018年        下半年","检测日期","201811/12",null,"检测单位","国家环境分析测试中心/苏州市华测检测技术有限公司"]
[null,"检测项目",null,"标准（ng-TEQ/m3）",null,"检测结果（ng-TEQ/m3）"]
[{"$nulls":5},"1#","2#","3#"]
[null,"烟气二噁英",null,0.1,null,0.019,0.013,0.058]
[{"$nulls":5},{"v":0.02,"d":"0.020"},0.012,0.052]
[{"$nulls":5},{"v":0.0098,"d":"0.010"},0.013,0.054]
[null,"平均值",{"$nulls":3},{"$f":"AVERAGE(F12:F14)","v":{"v":0.016266666666666665,"d":"0.016"}},{"v":0.012666666666666666,"d":"0.013"},{"v":0.05466666666666667,"d":"0.055"}]

{"sheet":"飞灰二噁英数据汇总","index":8,"n_rows":37,"n_cols":6,"rows_kept":37,"merged":[[0,0,0,6],[1,0,3,0],[1,2,1,3],[1,5,1,6],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,0,6,0],[4,2,4,3],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,0,9,0],[7,2,7,3],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,0,12,0],[10,2,10,3],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,0,15,0],[13,2,13,3],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,0,18,0],[16,2,16,3],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,0,21,0],[19,2,19,3],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,0,24,0],[22,2,22,3],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,0,27,0],[25,2,25,3],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,0,30,0],[28,2,28,3],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,0,33,0],[31,2,31,3],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,0,36,0],[34,2,34,3],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6]]}
["海安天楹环保能源有限公司飞灰二噁英检测数据汇总"]
["2018-01-01","检测日期","2018-01-15",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.11]
["2018-02-01","检测日期","2018-02-26",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.083]
["2018-03-01","检测日期","2018-03-29",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.17]
["2018-04-01","检测日期","2018-04-19",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.15]
["2018-05-01","检测日期","2018-05-14",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.065]
["2018-06-01","检测日期","2018-06-21",null,"检测单位","四川省中晟环保科技有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.018]
["2018-07-01","检测日期","2018-07-21",null,"检测单位","苏州市华测技术检测有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.094]
["2018-08-01","检测日期","2018-08-22",null,"检测单位","苏州市华测技术检测有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.13]
["2018-09-01","检测日期","2018-09-12",null,"检测单位","苏州市华测技术检测有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.15]
["2018-10-01","检测日期","2018-10-15",null,"检测单位","苏州市华测技术检测有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.059]
["2018-11-01","检测日期","2018-11-15",null,"检测单位","苏州市华测技术检测有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.079]
["2018-12-01","检测日期","2018-12-17",null,"检测单位","苏州市华测技术检测有限公司"]
[null,"检测项目",null,"标准（除注明外，单位µgTEQ/kg）",null,"检测结果（除注明外，单位µgTEQ/kg）"]
[null,"固化飞灰",null,"＜3",null,0.22]